## worksheet1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Monte Carlo code
version
Input filename
Patient phantom: ORNL
Doctor phantom: ORNL with hands and eyes
Origin for tally description: the origin of omed3 file
Source specification
Collimator: ideal
Filters: in spectrum
Tube voltage | [kVp]
Filtration | [mm Al]
[mm Cu]
Beam Projection | LAO/RAO
CAUDAL/CRANIAL
specific combinations
Field Size at the I.I | diameter (cm)
Source to skin distance (cm): 60
Protective equipment
Staff: lead apron and thryroid collar 0.5 mmPb | lead glasses
Room | table curtain
patient shield
ceiling
Part of the body irradiated | (head and neck, thorax, abdomen, lower limbs)
Doctor's Position (2-5) | (2-5)
Statistics | <5%
calculation histories | nps
calculation time | ctm
Variance reduction
Library
Tally specifications
1. DAP | tally dimensions
c.c Fluence to Kair (ICRU 57) | result
tally type: F2 | rel. error
2. left ring, tally type F6, depth 0.07 mm | result
tally dimensions 7.8x7.8 x 5·10-4 cm3 | rel. error
3. right ring, tally type F6, depth 0.07 mm | result
tally dimensions 7.8x7.8 x 5·10-4 cm3 | rel. error
4. left wrist, tally F6, depth 0.07 mm | result
tally dimensions 5x5 x 5·10-4 cm3 | rel. error
4. right wrist, tally F6, depth 0.07 mm | result
tally dimensions 5x5 x 5·10-4 cm3 | rel. error
5. left leg, tally type F6, depth 0.07 mm
tally dimensions: 5cm height, 5.10-4cm thickness
5 cm under apron, in front half of the leg | result
in front half of the leg | rel. error
6. right leg, tally type F6, depth 0.07 mm
tally dimensions: 5cm height, 5.10-4cm thickness
5 cm under apron, in front half of the leg | result
in front half of the leg | rel. error
7. left eye, HT, tally type F6 | result
tally dimensions:eye cell volume | rel. error
8. right eye, HT, tally type F6 | result
tally dimensions:eye cell volume | rel. error
left eye lens, Hp(3), tally type F6, depth 3 mm | result
5.10-4cm thickness, diameter 1 cm | rel. error
9. right eye lens, Hp(3), tally type F6, depth 3 mm | result
5.10-4cm thickness, diameter 1 cm | rel. error
10. midle eye lens, Hp(3), tally type F6, depth 3 mm | result
5.10-4cm thickness, diameter 1 cm | rel. error